## Key
Project Name: Gullen Solar Pty Ltd
Date: 26th Oct 2016
Section | Datum | Header name
PV System
| AC Output Real Power | Ppv_kW
| AC Output Reactive Power | Qpv_kVAr
| Power Factor | PFpv
| AC Output Current | Ipv_A
| Cumulative AC output Energy | Epv_kWh
Meteorological | Global Irradiance Plane of Array | Ggpoa_W/m2
| Direct Normal Irradiance | Gdni_W/m2
| Global Horizontal Irradiance | Gghi_W/m2
| Wind Speed | vwind_m/s[xm]
| Wind Direction | dwind_deg
| Ambient Temperature | Tamb_degC
| PV Cell Temperature | Tcell_degC
| Rainfall | Rain_mm
| Relative Humidity | Hum_%